
[image: image1.png]I\
Wwa&wa¥




Guide Specification

WOOD TILES, SERIES 4000
STYLE: 4900, Z-Clip and Rail Wood Tiles
PROJECT: 
09 54 5 - WOOD WALL TILES
PART 1 – GENERAL
1.1
SUMMARY

A.
Section includes:

1.
Wood Wall Tiles for concealed attachment system.
1.2
RELATED WORK IN OTHER SECTIONS:

A. 
Division 1 – “General Conditions” for substitution requests, submittals, etc.

B. 
Division 9 – “Acoustic Ceilings.”

C.
Division 13 – “Integrated Assemblies.”

D.
Division 15 – “Mechanical” for work to be coordinated with ceiling.

E.
Division 16 – “Electrical” for light fixture coordination.

1.3
REFERENCES

A
ASTM E 84: Standard Test Method for Surface Burning Characteristics of Building Materials; 1991.

B.
AWI (QSI): Architectural Woodwork Quality Standards Illustrated; 2003. 

1.4
QUALITY ASSURANCE

A.
Manufacturer Qualifications:  Manufacturers other than those listed in Paragraph 2.1 are required to submit for approval prior to bidding per Section One.

B.
Installer Qualifications:  Engage an experienced Installer, approved by wood wall manufacturer, who has completed panel walls similar in species, design, and extent to that indicated for this Project and with a record of successful in-service performance.

C.
Inspection:  All work must pass inspection and approval of architect, as well as the local codes and regulations or authorities having jurisdiction.

D.
Single-Source Responsibility for Wood Wall System: Obtain each type of Z-Clip and Rail Wood Tiles from a single fabricator, with in-house Shop Drawing capabilities, in-house assembly and finishing capabilities, and with resources to provide products of consistent quality in appearance and physical properties without delaying the project.

E.
Single-Source Responsibility for Suspension System: Obtain each type of suspension system from a single source with resources to provide products of consistent quality in appearance and physical properties without delaying project.

F.
Pre-Installation Conference: Conduct conference at Project site to comply with requirements of Division 1 Section "Project Meetings."

1.5
SUBMITTALS

A.
General: Submit each item in this Section according to the Conditions of the Contract and Division 1 Specification Sections.

B.
Product Data: For each type of product specified.

C.
Samples: For verification of each type of exposed finish required, prepared on samples of size indicated below. Where finishes involve normal color and texture variations, include sample sets showing the range of variations expected.

1.
12” x 18” samples of each panel type, pattern, and color.

1.6
SHOP DRAWINGS & COORDINATION WITH OTHER TRADES

A.
Shop Drawings: Provide Shop Drawings/Coordination Drawings for all walls, which should include Elevations and product details. Coordinate Wood Tile wall panels layout and installation of wood panels and attachment on system components with other construction elements that penetrates walls or is supported by them, including light fixtures, HVAC equipment, fire-suppression system components, partition assemblies and all perimeter conditions.

1.7
PROJECT CONDITIONS

A.
Space Enclosure and Environmental Limitations: Do not install wood panel walls until spaces are enclosed and weatherproof, wet-work in spaces is completed and dry, work above wall is complete, and ambient temperature and humidity conditions are being maintained at the levels indicated for Project when occupied for its intended use.

1.8
DELIVERY, STORAGE, AND HANDLING

A.
Delivery & Unloading: Coordinate crate sizes, weights, unloading options, and delivery schedule with manufacturer prior to fabrication. Deliver wood panels and attachment system components to Project site in original, unopened packages and store them in a fully enclosed space where they will be protected against damage from moisture, direct sunlight, surface contamination, and other mistreatment.

B.
Acclimatization: Before installing wood panels, permit them to reach room temperature and a stabilized moisture content (at least 72 hours) per AWI standards.

C.
Handling: Handle Z-Clip and Rail Wood Tiles carefully to avoid chipping edges or damaging units in any way.

D.
Protection:

1.
Personnel: Follow good safety and industrial hygiene practices during handling and installing of all products and systems, with personnel to take necessary precautions and wear appropriate protective equipment as needed. Read related literature for important information on products before installation. Contractor to be solely responsible for all personal safety issues during and subsequent to installation; architect, specifier, owner, and manufacturer will rely on contractor’s performance in such regard.

2.
Existing completed work: Protect completed work above suspension system from damage during installation of suspension system components. 

1.9
EXTRA MATERIALS/WARRANTIES

A.
Extra Materials: Furnish extra materials described below that match products installed, are packaged with protective covering for storage, and are identified with labels clearly describing contents.

1.
Z-Clip and Rail Wood Tiles: Furnish quantity of full-size units equal to 2.0 percent of amount installed.

2.
Attachment System Components: Furnish quantity of each component equal to 2.0 percent of amount installed.

B.
Warranties:  Provide owner with a (1) year warranty for material and workmanship on all installed products.

1.
Manufacturers: All materials, wood panels and attachment, shall be warranted for (1) one year for material and workmanship.

2.
Installer:
All work shall be warranted for (1) year from final acceptance of completed work.

PART 2 - PRODUCTS

2.1
Z-CLIP AND RAIL WOOD TILES AND SUSPENSION SYSTEM

A.
General: The following manufacturer is basis of design: 

1.  9Wood, Inc. (www.9wood.com): Z-Clip and Rail Wood Tiles, Style 4900.

B.
Or equal, as prior approved by architect. 

2.2
Z-CLIP AND RAIL WOOD TILES 
A.
Basis of Design: 9Wood, Inc. Wood Tiles, Series 4000
1.   Wood Panels: Z-Clip and Rail Wood Tiles, Series 4900, SKU 4924-48
1)
Species:


Engineered White Oak (Quarter Sliced)
2)
Panel Size:

24" x 48"
3)
Edge Profile:

Square, Matching Edgebanding
4)
Tile Reveal:

3/8" 
5)
Suspension Style:

Z-Clip and Rail Attachment
6)
Fire Rating:

Class 1(A) Fire Rating
7)
Finish:


“Dressed-to-the-Nines”™ Clear Interior Finish
2.  
Attachment:

1)
Z-Clip and Rails:  Utilize Z-Clip and Rail Extrusions to suspend oversize panels, to comply with local engineering requirements.

2.3
 ATTACHMENT SYSTEM
A.
Structural Framing: Provide vertical structural framing members max 16” o.c. for direct attachment of Z-Clip and Rail.

PART 3 – EXECUTION

3.1
EXAMINATION

A.
General: Examine substrates and structural framing to which walls attach or abut, with installer present, for compliance with requirements specified in this and other sections that affect wall installation and anchorage. Do not proceed with installation until unsatisfactory conditions have been corrected.

3.2
PREPARATION

A.
Coordination: Furnish layouts for cast-in-place anchors, clips, and other wall anchors whose installation is specified in other Sections.

B.
Layout: Measure each wall area and establish the layout of Z-Clip and Rail Wood Tiles to balance border widths at opposite edges of each wall. Avoid using less-than-half-width panels at borders, and conform to the layout shown on elevations wall plans in accordance with wood wall manufacturer’s approved Shop Drawings. 

3.3
CLEANING

A.
General: Clean exposed wood surfaces of 9Wood, Inc. Z-Clip and Rail Wood Tiles, Style 4900. Comply with manufacturer's instructions for cleaning and touchup of minor finish damage. Remove and replace wood wall components that cannot be successfully cleaned and repaired to permanently eliminate evidence of damage.

END OF SECTION 09 54 5

9Wood, Inc.   |   999 South A Street   |   Springfield OR 97477   |   p 888.767.9990 | f 888.767.9998   |   9wood.com

 WOOD WALLS
09 54 5 - 3 of 4

