ErectaStep		Distributed by ZeroDocs.com

SECTION 05 51 41 – SAFETY GATES

GENERAL

SUBMITTALS

Action Submittals:

Product Data: Illustrate products, installation, and relationship to adjacent construction.

PRODUCTS

MANUFACTURERS

Contract Documents are based on products by ErectaStep, www.erectastep.com.

Substitutions: [Refer to Division 01.] [Not permitted.]

MATERIALS

Aluminum:

Extrusions: ASTM B221.

Sheet: ASTM B209.

ACCESSORIES

Hardware: Corrosion-resistant coated steel.

FABRICATION

Safety Gates:

      - Provide barrier to prevent accidental travel beyond point where gate is installed.

      - Maximum 108 degree opening.

      - Self-closing.

      - Self-stopping.

      - Field-adjustable tension.

      - Adjustable swing direction.

      - Universal mounting.

      - Width adjustable to fit openings from 16 to 36 inches.

      - Equip each gate with warning sign.

FINISHES

Aluminum: Safety yellow powder coat.

EXECUTION

INSTALLATION

Install in accordance with manufacturer’s instructions.

END OF SECTION